## 株式会社ガスター
事業者名 | 株式会社ガスター
取扱機器 | 温水ボイラー（給湯器）
認定種類 | 認定番号 | 認定年月日 | 代表型式 | 最大出湯量 （L/min） | その他型式 | 備考
超高効率 | GX082003 | 2009-03-23 | KG-S550RFW-MW-L | 50 | KG-S550RFWｰZW-L KG-S550RFｰMG-L KG-S550RFｰMG25-L KG-S550RFｰMG32-L KG-S550RFｰMG40-L KG-S550RFｰS-L KG-S550RFｰB-L KG-S550RFｰMQW-L KG-S550RFWｰMQ-L KG-S550RFｰMQD-L KG-S550RFｰMQD25-L KG-S550RFｰMQD32-L KG-S550RFｰMQD40-L

## 株式会社ノーリツ
事業者名 | 株式会社ノーリツ
取扱機器 | 温水ボイラー（給湯器）
認定種類 | 認定番号 | 認定年月日 | 代表型式 | 最大出湯量（L/min） | その他型式 | 備考
グレードAA | GAA222001 | 2022-10-05 | GQT-C2401SAWZ | 24 | なし
グレードAA | GAA201007 | 2020-07-28 | GQ-C2432WXBL | 24 | なし
グレードAA | GAA201008 | 2020-07-28 | GQ-C2032WXBL | 20 | なし
グレードAA | GAA201009 | 2020-07-28 | GQ-C2434WZ-C | 24 | なし
グレードAA | GAA201010 | 2020-07-28 | GQ-C2034WZ-C | 20 | なし
グレードAA | GAA201011 | 2020-07-28 | GQ-C2038WXSBL | 20 | GQ-C2038WXS-LBL、GQ-C2038WXS-TBL、GQ-C2038WXS-HBL、GQ-C2038WXSBL-DK
グレードAA | GAA201012 | 2020-07-28 | GQ-C2422WZD-FH | 24 | GQ-C2422WZD-FH-1、GQ-C2422WZD-F
グレードAA | GAA201013 | 2020-07-28 | GQ-C3222WZ-1 | 32 | GQ-C3223WZ
グレードAA | GAA201014 | 2020-07-28 | GT-C2462AWXBL | 24 | GT-C2462PAWXBL、GT-C2462PAWX-JKRBL、GT-C2462AWX-PSBL、GT-C2462AWX-LBL、GT-C2462AWX-TBL、GT-C2462AWX-TBBL、GT-C2462AWX-HBL、GT-C2462AWX-JKRBL、GT-C2462SAWXBL、GT-C2462SAWX-PSBL、GT-C2462SAWX-LBL、GT-C2462SAWX-TBL、GT-C2462SAWX-TBBL、GT-C2462SAWX-HBL、GT-C2462SAWX-JKRBL、GT-CP2462AWX-PSBL、GT-CP2462AWX-LBL、、GT-CP2462AWX-TBL、GT-CP2462AWX-TBBL、GT-CP2462AWX-HBL、GT-CP2462SAWX-PSBL、GT-CP2462SAWX-LBL、GT-CP2462SAWX-TBL、GT-CP2462SAWX-TBBL、GT-CP2462SAWX-HBL、GT-CV2462AWX-PSBL、GT-CV2462AWX-LBL、GT-CV2462AWX-TBL、GT-CV2462AWX-TBBL、GT-CV2462AWX-HBL、GT-CV2462SAWX-PSBL、GT-CV2462SAWX-LBL、GT-CV2462SAWX-TBL、GT-CV2462SAWX-TBBL、GT-CV2462SAWX-HBL、GT-C2462ARXBL、GT-C2462SARXBL、GT-C2462SAWX-IS、GT-C2462AWX-EGBL、GT-C2462AWX-L-EGBL、GT-C2462AWX-T-EGBL、GT-C2462SAWX-EGBL、GT-C2462SAWX-L-EGBL、GT-C2462SAWX-T-EGBL、GT-C2462SAWX-IGBL、GT-C2462AWXBL-R、GT-C2462AWX-PSBL-R、GT-C2462AWX-TBL-R、GT-C2462SAWXBL-R、GT-C2462SAWX-PSBL-R、、GT-C2462SAWX-TBL-R、GT-CP2462AWX-PSBL-R、GT-CP2462AWX-TBL-R、GT-CP2462SAWX-PSBL-R、GT-CP2462SAWX-TBL-R、GRQ-C2462AXBL、GRQ-C2462SAXBL、、HCT-C2462AWX、HCT-C2462AWX-JKR、HCT-C2462SAWX、HCT-C2462SAWX-JKR、HCT-C2462ARX、HCT-C2462SARX、SRT-C2461SAWXBL、SRT-C2461SAWX-PSBL、SRT-C2461SAWX-LBL、SRT-C2461SAWX-TBL、SRT-C2461SAWX-TBBL、SRT-C2461SAWX-HBL、SRT-C2461SAWX-JKRBL、SRT-C2461SAWX-DKBL、SRT-C2461SAWX-DK1BL、GQT-C2412AWZ、GT-C2462SAWX-2-IGBL
GT-C2462PAWX-2BL、GT-C2462PAWX-JKR-2BL、GT-C2462PARX-2BL、GT-C2462AWX-2BL、GT-C2462AWX-PS-2BL、GT-C2462AWX-T-2BL、GT-C2462AWX-TB-2BL、GT-C2462AWX-H-2BL、GT-C2462AWX-L-2BL、GT-C2462AWX-JKR-2BL、GT-C2462SAWX-2BL、GT-C2462SAWX-PS-2BL、GT-C2462SAWX-T-2BL、GT-C2462SAWX-TB-2BL、GT-C2462SAWX-H-2BL、GT-C2462SAWX-L-2BL、GT-C2462SAWX-JKR-2BL、GT-CP2462AWX-PS-2BL、GT-CP2462AWX-T-2BL、GT-CP2462AWX-TB-2BL、GT-CP2462AWX-H-2BL、GT-CP2462AWX-L-2BL、GT-CP2462SAWX-PS-2BL、GT-CP2462SAWX-T-2BL、GT-CP2462SAWX-TB-2BL、GT-CP2462SAWX-H-2BL、GT-CP2462SAWX-L-2BL、GT-CV2462AWX-PS-2BL、GT-CV2462AWX-T-2BL、GT-CV2462AWX-TB-2BL、GT-CV2462AWX-H-2BL、GT-CV2462AWX-L-2BL、GT-CV2462SAWX-PS-2BL、GT-CV2462SAWX-T-2BL、GT-CV2462SAWX-TB-2BL、GT-CV2462SAWX-H-2BL、GT-CV2462SAWX-L-2BL、GT-C2462ARX-2BL、GT-C2462SARX-2BL、GT-C2462SAWX-IS-2、GT-C2462AWX-EG-2BL、GT-C2462AWX-L-EG-2BL、GT-C2462AWX-T-EG-2BL、GT-C2462SAWX-EG-2BL、GT-C2462SAWX-L-EG-2BL、GT-C2462SAWX-T-EG-2BL、GT-C2462AWX-2BL-R、GT-C2462AWX-PS-2BL-R、GT-C2462AWX-T-2BL-R、GT-C2462SAWX-2BL-R、GT-C2462SAWX-PS-2BL-R、GT-C2462SAWX-T-2BL-R、GT-CP2462AWX-PS-2BL-R、GT-CP2462AWX-T-2BL-R、GT-CP2462SAWX-T-2BL-R、GRQ-C2462AX-2BL、GRQ-C2462SAX-2BL、HCT-C2462AWX-2、HCT-C2462AWX-JKR-2、HCT-C2462SAWX-2、HCT-C2462SAWX-JKR-2、HCT-C2462ARX-2、HCT-C2462SARX-2、SRT-C2461SAWX-2BL、SRT-C2461SAWX-PS-2BL、SRT-C2461SAWX-T-2BL、SRT-C2461SAWX-TB-2BL、SRT-C2461SAWX-H-2BL、SRT-C2461SAWX-L-2BL、SRT-C2461SAWX-JKR-2BL、SRT-C2461SAWX-DK2BL、GT-CP2462SAWX-PS-2BL-R、GT-C2462SAWX-2-IGBL、GQT-C2412AWZ
GT-C2462PAWX-HY-2BL、GT-C2462AWX-HY-2BL、GT-C2462AWX-PS-HY-2BL、GT-C2462AWX-T-HY-2BL、GT-C2462AWX-TB-HY-2BL、GT-C2462AWX-H-HY-2BL、GT-C2462AWX-L-HY-2BL、GT-C2462SAWX-HY-2BL
GT-C2472AWBL、GT-C2472AW-EGBL、GT-C2472AWBL-R、GT-C2472AW-PSBL、GT-C2472AW-PSBL-R、GT-C2472AW-TBL、GT-C2472AW-T-EGBL、GT-C2472AW-TBL-R、GT-C2472AW-TBBL、GT-C2472AW-HBL、GT-C2472AW-LBL、GT-C2472AW-L-EGBL、GT-C2472AW-JKRBL、GT-C2472ARBL、GT-C2472SAWBL、GT-C2472SAW-EGBL、GT-C2472SAWBL-R、GT-C2472SAW-PSBL、GT-C2472SAW-PSBL-R、GT-C2472SAW-TBL、GT-C2472SAW-T-EGBL、GT-C2472SAW-TBL-R、GT-C2472SAW-TBBL、GT-C2472SAW-HBL、GT-C2472SAW-LBL、GT-C2472SAW-L-EGBL、GT-C2472SAW-JKRBL、GT-C2472SAW-IS、GT-C2472SAWBL-IG、GT-C2472SARBL、GT-C2472PWAWBL、GT-C2472PWAW-JKRBL、GT-C2472PAWBL、GT-C2472PAW-JKRBL、GT-C2472PWARBL、GT-C2472PARBL、GT-CP2472AW-PSBL、GT-CP2472AW-PSBL-R、GT-CP2472AW-TBL、GT-CP2472AW-TBL-R、GT-CP2472AW-TBBL、GT-CP2472AW-HBL、GT-CP2472AW-LBL、GT-CP2472SAW-PSBL、GT-CP2472SAW-PSBL-R、GT-CP2472SAW-TBL、GT-CP2472SAW-TBL-R、GT-CP2472SAW-TBBL、GT-CP2472SAW-HBL、GT-CP2472SAW-LBL、GT-CV2472AW-PSBL、GT-CV2472AW-TBL、GT-CV2472AW-TBBL、GT-CV2472AW-HBL、GT-CV2472AW-LBL、GT-CV2472SAW-PSBL、GT-CV2472SAW-TBL、GT-CV2472SAW-TBBL、GT-CV2472SAW-HBL、GT-CV2472SAW-LBL、GRQ-C2472ABL、GRQ-C2472SABL、HCT-C2472AW、HCT-C2472SAW、HCT-C2472AR、HCT-C2472SAR、SRT-C2471SAWBL、SRT-C2471SAWBL-DK、SRT-C2471SAW-PSBL、SRT-C2471SAW-TBL、SRT-C2471SAW-TBBL、SRT-C2471SAW-HBL、SRT-C2471SAW-LBL、SRT-C2471SAW-JKRBL
グレードAA | GAA201015 | 2020-07-28 | GT-C2062AWXBL | 20 | GT-C2062PAWXBL、GT-C2062PAWX-JKRBL、GT-C2062AWX-PSBL、GT-C2062AWX-LBL、GT-C2062AWX-TBL、GT-C2062AWX-TBBL、GT-C2062AWX-HBL、GT-C2062AWX-JKRBL、GT-C2062SAWXBL、GT-C2062SAWX-PSBL、GT-C2062SAWX-LBL、GT-C2062SAWX-TBL、GT-C2062SAWX-TBBL、GT-C2062SAWX-HBL、GT-C2062SAWX-JKRBL、GT-CP2062AWX-PSBL、GT-CP2062AWX-LBL、GT-CP2062AWX-TBL、GT-CP2062AWX-TBBL、GT-CP2062AWX-HBL、GT-CP2062SAWX-PSBL、GT-CP2062SAWX-LBL、GT-CP2062SAWX-TBL、GT-CP2062SAWX-TBBL、GT-CP2062SAWX-HBL'、GT-CV2062AWX-PSBL、GT-CV2062AWX-LBL、GT-CV2062AWX-TBL、GT-CV2062AWX-TBBL、GT-CV2062AWX-HBL、GT-CV2062SAWX-PSBL、GT-CV2062SAWX-LBL、GT-CV2062SAWX-TBL、GT-CV2062SAWX-TBBL、GT-CV2062SAWX-HBL、GT-C2062ARXBL、GT-C2062SARXBL、GT-C2062SAWX-IS、GT-C2062AWX-EGBL、GT-C2062AWX-L-EGBL、GT-C2062AWX-T-EGBL、GT-C2062SAWX-EGBL、GT-C2062SAWX-L-EGBL、GT-C2062SAWX-T-EGBL、GT-C2062SAWX-IGBL、GT-C2062SAWXBL-R、GT-C2062SAWX-PSBL-R、GT-CP2062SAWX-PSBL-R、GRQ-C2062AXBL、GRQ-C2062SAXBL、HCT-C2062AWX、HCT-C2062AWX-JKR、HCT-C2062SAWX、HCT-C2062SAWX-JKR、HCT-C2062ARX、HCT-C2062SARX、SRT-C2061SAWXBL、SRT-C2061SAWX-PSBL、SRT-C2061SAWX-LBL、SRT-C2061SAWX-TBL、SRT-C2061SAWX-TBBL、SRT-C2061SAWX-HBL、SRT-C2061SAWX-JKRBL、SRT-C2061SAWX-DKBL、SRT-C2061SAWX-PS-DKBL、SRT-C2061SAWX-L-DKBL、SRT-C2061SAWX-T-DKBL、SRT-C2061SAWX-TB-DKBL、SRT-C2061SAWX-H-DKBL、SRT-C2061SAWX-DK1BL、SRT-C2061SAWX-PS-DK1BL、SRT-C2061SAWX-L-DK1BL、SRT-C2061SAWX-T-DK1BL、SRT-C2061SAWX-TB-DK1BL、SRT-C2061SAWX-H-DK1BL、GT-C2062SAWX-2-IGBL
GT-C2072AWBL、GT-C2072AW-EGBL、GT-C2072AW-PSBL、GT-C2072AW-TBL、GT-C2072AW-T-EGBL、GT-C2072AW-TBBL、GT-C2072AW-HBL、GT-C2072AW-LBL、GT-C2072AW-L-EGBL、GT-C2072AW-JKRBL、GT-C2072ARBL、GT-C2072SAWBL、GT-C2072SAW-EGBL、GT-C2072SAWBL-R、GT-C2072SAW-PSBL、GT-C2072SAW-TBL、GT-C2072SAW-T-EGBL、GT-C2072SAW-TBBL、GT-C2072SAW-HBL、GT-C2072SAW-LBL、GT-C2072SAW-L-EGBL、GT-C2072SAW-JKRBL、GT-C2072SAW-IS、GT-C2072SAWBL-IG、GT-C2072SARBL、GT-C2072PWAWBL、GT-C2072PWAW-JKRBL、GT-C2072PAWBL、GT-C2072PAW-JKRBL、GT-C2072PWARBL、GT-C2072PARBL、GT-CP2072AW-PSBL、GT-CP2072AW-TBL、GT-CP2072AW-TBBL、GT-CP2072AW-HBL、GT-CP2072AW-LBL、GT-CP2072SAW-PSBL、GT-CP2072SAW-PSBL-R、GT-CP2072SAW-TBL、GT-CP2072SAW-TBBL、GT-CP2072SAW-HBL、GT-CP2072SAW-LBL、GT-CV2072AW-PSBL、GT-CV2072AW-TBL、GT-CV2072AW-TBBL、GT-CV2072AW-HBL、GT-CV2072AW-LBL、GT-CV2072SAW-PSBL、GT-CV2072SAW-TBL、GT-CV2072SAW-TBBL、GT-CV2072SAW-HBL、GRQ-C2072ABL、GRQ-C2072SABL、HCT-C2072AW、HCT-C2072SAW、HCT-C2072AR、HCT-C2072SAR、SRT-C2071SAWBL、SRT-C2071SAWBL-DK、SRT-C2071SAW-PSBL、SRT-C2071SAW-PSBL-DK、SRT-C2071SAW-TBL、SRT-C2071SAW-TBL-DK、SRT-C2071SAW-TBBL、SRT-C2071SAW-TBBL-DK、SRT-C2071SAW-HBL、SRT-C2071SAW-HBL-DK、SRT-C2071SAW-LBL、SRT-C2071SAW-LBL-DK、SRT-C2071SAW-JKRBL
GT-CV2072SAW-LBL、GT-C2062PAWX-2BL、GT-C2062PAWX-JKR-2BL、GT-C2062PARX-2BL、GT-C2062AWX-2BL、GT-C2062AWX-PS-2BL、GT-C2062AWX-T-2BL、GT-C2062AWX-TB-2BL、GT-C2062AWX-H-2BL、GT-C2062AWX-L-2BL、GT-C2062AWX-JKR-2BL、GT-C2062SAWX-2BL、GT-C2062SAWX-PS-2BL、GT-C2062SAWX-T-2BL、GT-C2062SAWX-TB-2BLGT-C2062SAWX-H-2BL、GT-C2062SAWX-L-2BL、GT-C2062SAWX-JKR-2BL、GT-CP2062AWX-PS-2BL、GT-CP2062AWX-T-2BL、GT-CP2062AWX-TB-2BL、GT-CP2062AWX-H-2BL、GT-CP2062AWX-L-2BL、GT-CP2062SAWX-PS-2BL、GT-CP2062SAWX-T-2BL、GT-CP2062SAWX-TB-2BL、GT-CP2062SAWX-H-2BL、GT-CP2062SAWX-L-2BL、GT-CV2062AWX-PS-2BL、GT-CV2062AWX-T-2BL、GT-CV2062AWX-TB-2BL、GT-CV2062AWX-H-2BL、GT-CV2062AWX-L-2BL、GT-CV2062SAWX-PS-2BL、GT-CV2062SAWX-T-2BL、GT-CV2062SAWX-TB-2BL、GT-CV2062SAWX-H-2BL、GT-CV2062SAWX-L-2BL、GT-C2062ARX-2BL、GT-C2062SARX-2BL、GT-C2062SAWX-IS-2、GT-C2062AWX-EG-2BL、GT-C2062AWX-T-EG-2BL、GT-C2062AWX-L-EG-2BL、GT-C2062SAWX-EG-2BL、GT-C2062SAWX-T-EG-2BL、GT-C2062SAWX-L-EG-2BL、GT-C2062SAWX-IG-2BL、GT-C2062SAWX-2BL-R、GT-C2062SAWX-PS-2BL-R、GT-CP2062SAWX-PS-2BL-R、GRQ-C2062AX-2BL、GRQ-C2062SAX-2BL、HCT-C2062AWX-2、HCT-C2062AWX-JKR-2、HCT-C2062SAWX-2、HCT-C2062SAWX-JKR-2、HCT-C2062ARX-2、HCT-C2062SARX-2、SRT-C2061SAWX-2BL、SRT-C2061SAWX-PS-2BL、SRT-C2061SAWX-T-2BL、SRT-C2061SAWX-TB-2BL、SRT-C2061SAWX-H-2BL、SRT-C2061SAWX-L-2BL、SRT-C2061SAWX-JKR-2BL、SRT-C2061SAWX-DK2BL、SRT-C2061SAWX-PS-DK2BL、SRT-C2061SAWX-T-DK2BL、SRT-C2061SAWX-TB-DK2BL、SRT-C2061SAWX-H-DK2BL、SRT-C2061SAWX-L-DK2BL
グレードAA | GAA201016 | 2020-07-28 | GT-C2063AWXBL | 20 | GT-C2063AWX-LBL、GT-C2063AWX-TBL、GT-C2063AWX-HBL、GT-C2063SAWXBL、GT-C2063SAWX-LBL、GT-C2063SAWX-TBL、GT-C2063SAWX-HBL、GT-CP2063AWX-PSBL、GT-CP2063AWX-LBL、GT-CP2063AWX-TBL、GT-CP2063AWX-HBL、GT-CP2063SAWX-PSBL、GT-CP2063SAWX-LBL、GT-CP2063SAWX-TBL、GT-CP2063SAWX-HBL、GT-CV2063AWX-PSBL、GT-CV2063AWX-LBL、GT-CV2063AWX-TBL、GT-CV2063AWX-HBL、GT-CV2063SAWX-PSBL、GT-CV2063SAWX-LBL、GT-CV2063SAWX-TBL、GT-CV2063SAWX-HBL、GT-C2063AWXBL-R、GT-C2063AWX-TBL-R、GT-C2063SAWXBL-R、GT-C2063SAWX-TBL-R、GT-C2063SAWX-DKBL
グレードAA | GAA194001 | 2020-03-10 | GTH-C2459AW3HBL | 24 | GTH-C2459AW3HBL、GTH-C2459SAW3HBL、GTH-C2459AWDBL、GTH-C2459SAWDBL、GTH-C2459SAWD-IS、GTH-C2459AWD-AIBL、GTH-C2459SAWD-AIBL、GTH-C2460AW3HBL、GTH-C2460AW3H-LBL、GTH-C2460AW3H-TBL、GTH-C2460AW3H-TBBL、GTH-C2460AW3H-HBL、GTH-C2460SAW3HBL、GTH-C2460SAW3H-LBL、GTH-C2460SAW3H-TBL、GTH-C2460SAW3H-TBBL、GTH-C2460SAW3H-HBL、GTH-C2460AWBL、GTH-C2460AW-LBL、GTH-C2460AW-TBL、GTH-C2460AW-TBBL、GTH-C2460AW-HBL、GTH-C2460SAWBL、GTH-C2460SAW-LBL、GTH-C2460SAW-TBL、GTH-C2460SAW-TBBL、GTH-C2460SAW-HBL、GTH-CP2460AW3HBL、GTH-CP2460AW3H-LBL、GTH-CP2460AW3H-TBL、GTH-CP2460AW3H-TBBL、GTH-CP2460AW3H-HBL、GTH-CP2460SAW3HBL、GTH-CP2460SAW3H-LBL、GTH-CP2460SAW3H-TBL、GTH-CP2460SAW3H-TBBL、GTH-CP2460SAW3H-HBL、GTH-CV2460AW3HBL、GTH-CV2460AW3H-LBL、GTH-CV2460AW3H-TBL、GTH-CV2460AW3H-TBBL、GTH-CV2460AW3H-HBL、GTH-CV2460SAW3HBL、GTH-CV2460SAW3H-LBL、GTH-CV2460SAW3H-TBL、GTH-CV2460SAW3H-TBBL、GTH-CV2460SAW3H-HBL、GTH-C2461AW6HBL、GTH-C2461AW6H-LBL、GTH-C2461AW6H-TBL、GTH-C2461AW6H-TBBL、GTH-C2461AW6H-HBL、GTH-C2461AW6H-PFFBL、GTH-C2461SAW6HBL、GTH-C2461SAW6H-LBL、GTH-C2461SAW6H-TBL、GTH-C2461SAW6H-TBBL、GTH-C2461SAW6H-HBL、GTH-C2461SAW6H-PFFBL、GTH-C2461AW3HBL、GTH-C2461AW3H-LBL、GTH-C2461AW3H-TBL、GTH-C2461AW3H-TBBL、GTH-C2461AW3H-HBL、GTH-C2461AW3H-PFFBL、GTH-C2461SAW3HBL、GTH-C2461SAW3H-LBL、GTH-C2461SAW3H-TBL、GTH-C2461SAW3H-TBBL、GTH-C2461SAW3H-HBL、GTH-C2461SAW3H-PFFBL、GTH-C2461AWDBL、GTH-C2461SAWDBL、GTH-C2461AW6HBLR、GTH-C2461AW6H-LBLR、GTH-C2461AW6H-TBLR、GTH-C2461AW6H-HBLR、GTH-C2461SAW6HBLR、GTH-C2461SAW6H-LBLR、GTH-C2461SAW6H-TBLR、GTH-C2461SAW6H-HBLR、GTH-C2461AW3HBLR、GTH-C2461AW3H-LBLR、GTH-C2461AW3H-TBLR、GTH-C2461AW3H-HBLR、GTH-C2461SAW3HBLR、GTH-C2461SAW3H-LBLR、GTH-C2461SAW3H-TBLR、GTH-C2461SAW3H-HBLR、GTH-C2461AW6HBLU、GTH-C2461AW6H-LBLU、GTH-C2461AW6H-TBLU、GTH-C2461AW6H-TBBLU、GTH-C2461AW6H-HBLU、GTH-C2461AW6H-PFFBLU、GTH-C2461SAW6HBLU、GTH-C2461SAW6H-LBLU、GTH-C2461SAW6H-TBLU、GTH-C2461SAW6H-TBBLU、GTH-C2461SAW6H-HBLU、GTH-C2461SAW6H-PFFBLU、GTH-C2461AW3HBLU、GTH-C2461AW3H-LBLU、GTH-C2461AW3H-TBLU、GTH-C2461AW3H-TBBLU、GTH-C2461AW3H-HBLU、GTH-C2461AW3H-PFFBLU、GTH-C2461SAW3HBLU、GTH-C2461SAW3H-LBLU、GTH-C2461SAW3H-TBLU、GTH-C2461SAW3H-TBBLU、GTH-C2461SAW3H-HBLU、GTH-C2461SAW3H-PFFBLU、GTH-C2461AWDBLU、GTH-C2461SAWDBLU、GTH-CP2461AW6HBL、GTH-CP2461AW6H-LBL、
GTH-CP2461AW6H-TBL、GTH-CP2461AW6H-TBBL、GTH-CP2461AW6H-HBL、GTH-CP2461AW6H-PFFBL、GTH-CP2461SAW6HBL、GTH-CP2461SAW6H-LBL、GTH-CP2461SAW6H-TBL、GTH-CP2461SAW6H-TBBL、GTH-CP2461SAW6H-HBL、GTH-CP2461SAW6H-PFFBL、GTH-CP2461AW3HBL、GTH-CP2461AW3H-LBL、GTH-CP2461AW3H-TBL、GTH-CP2461AW3H-TBBL、GTH-CP2461AW3H-HBL、GTH-CP2461AW3H-PFFBL、GTH-CP2461SAW3HBL、GTH-CP2461SAW3H-LBL、GTH-CP2461SAW3H-TBL、GTH-CP2461SAW3H-TBBL、GTH-CP2461SAW3H-HBL、GTH-CP2461SAW3H-PFFBL、GTH-CP2461AW6HBLU、GTH-CP2461AW6H-LBLU、GTH-CP2461AW6H-TBLU、GTH-CP2461AW6H-TBBLU、GTH-CP2461AW6H-HBLU、GTH-CP2461AW6H-PFFBLU、GTH-CP2461SAW6HBLU、GTH-CP2461SAW6H-LBLU、GTH-CP2461SAW6H-TBLU、GTH-CP2461SAW6H-TBBLU、GTH-CP2461SAW6H-HBLU、GTH-CP2461SAW6H-PFFBLU、GTH-CP2461AW3HBLU、GTH-CP2461AW3H-LBLU、GTH-CP2461AW3H-TBLU、GTH-CP2461AW3H-TBBLU、GTH-CP2461AW3H-HBLU、GTH-CP2461AW3H-PFFBLU、GTH-CP2461SAW3HBLU、GTH-CP2461SAW3H-LBLU、GTH-CP2461SAW3H-TBLU、GTH-CP2461SAW3H-TBBLU、GTH-CP2461SAW3H-HBLU、GTH-CP2461SAW3H-PFFBLU、GTH-CV2461AW6HBL、GTH-CV2461AW6H-PFFBL、GTH-CV2461AW6H-LBL、GTH-CV2461AW6H-TBL、GTH-CV2461AW6H-TBBL、GTH-CV2461AW6H-HBL、GTH-CV2461SAW6HBL、GTH-CV2461SAW6H-PFFBL、GTH-CV2461SAW6H-LBL、GTH-CV2461SAW6H-TBL、GTH-CV2461SAW6H-TBBL、GTH-CV2461SAW6H-HBL、GTH-C2461AW6H-AIBL、GTH-C2461AW6H-L-FCBL、GTH-C2461AW6H-T-FCBL、GTH-C2461AW6H-TB-FCBL、GTH-C2461AW6H-H-FCBL、GTH-C2461AW6H-PFF-FCBL、GTH-CP2461AW6H-T-FCBL、GTH-CP2461AW6H-AIBL、GTH-CP2461AW6H-L-FCBL、GTH-CP2461AW6H-TB-FCBL、GTH-CP2461AW6H-H-FCBL、GTH-CP2461AW6H-PFF-FCBL、GTH-CV2461AW6HBLU、GTH-CV2461AW6H-LBLU、GTH-CV2461AW6H-TBLU、GTH-CV2461AW6H-TBBLU、GTH-CV2461AW6H-HBLU、GTH-CV2461AW6H-PFFBLU、GTH-CV2461SAW6HBLU、GTH-CV2461SAW6H-LBLU、GTH-CV2461SAW6H-TBLU、GTH-CV2461SAW6H-TBBLU、GTH-CV2461SAW6H-HBLU、GTH-CV2461SAW6H-PFFBLU、GTH-C2453AW6HBL、GTH-C2453SAW6HBL、GTH-C2453AW3HBL、GTH-C2453SAW3HBL、GTH-C2453AW6H-FCBL、GTH-C2453SAW6H-FCBL、
FT4220KRSAW3CM、FT4220KRSSW3CM、FT4220KRSAWCM、FT4220KRSSWCM、FT4220KRSAWCMZ、FT4220KRSSWCMZ、FT4220ARSAW3CM、FT4220ARS2AW3CM、FT4220ARS4AW3CM、FT4220ARS8AW3CM、FT4220ARS9AW3CM、FT4220ARSSW3CM、FT4220ARS2SW3CM、FT4220ARS4SW3CM、FT4220ARS8SW3CM、FT4220ARS9SW3CM、FT4220ARSACM、FT4220ARS2ACM、FT4220ARS4ACM、FT4220ARS8ACM、FT4220ARS9ACM、FT4220ARSSCM、FT4220ARS2SCM、FT4220ARS4SCM、FT4220ARS8SCM、FT4220ARS9SCM、FT4220ARSAW3PM、FT4220ARS2AW3PM、FT4220ARS4AW3PM、FT4220ARS8AW3PM、FT4220ARS9AW3PM、FT4220ARSSW3PM、FT4220ARS2SW3PM、FT4220ARS4SW3PM、FT4220ARS8SW3PM、FT4220ARS9SW3PM、FT4220ARSAW3TM、FT4220ARS2AW3TM、FT4220ARS4AW3TM、FT4220ARS8AW3TM、FT4220ARS9AW3TM、FT4220ARSSW3TM、FT4220ARS2SW3TM、FT4220ARS4SW3TM、FT4220ARS8SW3TM、FT4220ARS9SW3TM、FT4220ARSAW6C、FT4220ARS2AW6C、FT4220ARS4AW6C、FT4220ARS8AW6C、FT4220ARS9AW6C、FT4220ARS0AW6C、FT4220ARSSW6C、FT4220ARS2SW6C、FT4220ARS4SW6C、FT4220ARS8SW6C、FT4220ARS9SW6C、FT4220ARS0SW6C、FT4220ARSAW3C、FT4220ARS2AW3C、FT4220ARS4AW3C、FT4220ARS8AW3C、FT4220ARS9AW3C、FT4220ARS0AW3C、FT4220ARSSW3C、FT4220ARS2SW3C、FT4220ARS4SW3C、FT4220ARS8SW3C、FT4220ARS9SW3C、FT4220ARS0SW3C、FT4220ARSAWC、FT4220ARSSWC、FT4220ARSAW6P、FT4220ARS2AW6P、FT4220ARS4AW6P、FT4220ARS8AW6P、FT4220ARS9AW6P、FT4220ARS0AW6P、FT4220ARSSW6P、FT4220ARS2SW6P、FT4220ARS4SW6P、FT4220ARS8SW6P、FT4220ARS9SW6P、FT4220ARS0SW6P、FT4220ARSAW3P、FT4220ARS2AW3P、FT4220ARS4AW3P、FT4220ARS8AW3P、FT4220ARS9AW3P、FT4220ARS0AW3P、FT4220ARSSW3P、FT4220ARS2SW3P、FT4220ARS4SW3P、FT4220ARS8SW3P、FT4220ARS9SW3P、FT4220ARS0SW3P、FT4220ARSAW6T、FT4220ARS0AW6T、FT4220ARS2AW6T、FT4220ARS4AW6T、FT4220ARS8AW6T、FT4220ARS9AW6T、FT4220ARSSW6T、FT4220ARS0SW6T、FT4220ARS2SW6T、FT4220ARS4SW6T、FT4220ARS8SW6T、FT4220ARS9SW6T、FT4220ARSAW6CZ、FT4220ARS2AW6CZ、FT4220ARS4AW6CZ、FT4220ARS8AW6CZ、FT4220ARS9AW6CZ、FT4220ARS0AW6CZ、FT4220ARS4AW6PZ、FT4220ARSAW6PZ、FT4220ARS2AW6PZ、FT4220ARS8AW6PZ、FT4220ARS9AW6PZ、FT4220ARS0AW6PZ、FT4218LRSAW6C、FT4218LRSSW6C、FT4218LRSAW3C、FT4218LRSSW3C、FT4220LRSAW6CZ、FT4220LRSSW6CZ
GTH-C2460AW3H-1BL、GTH-C2460AW3H-L-1BL、GTH-C2460AW3H-T-1BL、GTH-C2460AW3H-TB-1BL、GTH-C2460AW3H-H-1BL、GTH-C2460SAW3H-1BL、GTH-C2460SAW3H-L-1BL、GTH-C2460SAW3H-T-1BL、GTH-C2460SAW3H-TB-1BL、GTH-C2460SAW3H-H-1BL、GTH-CP2460AW3H-1BL、GTH-CP2460AW3H-L-1BL、GTH-CP2460AW3H-T-1BL、GTH-CP2460AW3H-TB-1BL、GTH-CP2460AW3H-H-1BL、GTH-CP2460SAW3H-1BL、GTH-CP2460SAW3H-L-1BL、GTH-CP2460SAW3H-T-1BL、GTH-CP2460SAW3H-TB-1BL、GTH-CP2460SAW3H-H-1BL、GTH-CV2460AW3H-1BL、GTH-CV2460AW3H-L-1BL、GTH-CV2460AW3H-T-1BL、GTH-CV2460AW3H-TB-1BL、GTH-CV2460AW3H-H-1BL、GTH-CV2460SAW3H-1BL、GTH-CV2460SAW3H-L-1BL、GTH-CV2460SAW3H-T-1BL、GTH-CV2460SAW3H-TB-1BL、GTH-CV2460SAW3H-H-1BL、GTH-C2460AW-1BL、GTH-C2460AW-L-1BL、GTH-C2460AW-T-1BL、GTH-C2460AW-TB-1BL、GTH-C2460AW-H-1BL、GTH-C2460SAW-1BL、GTH-C2460SAW-L-1BL、GTH-C2460SAW-T-1BL、GTH-C2460SAW-TB-1BL、GTH-C2460SAW-H-1BL、GTH-C2461AW6H-1BL、GTH-C2461AW6H-L-1BL、GTH-C2461AW6H-T-1BL、GTH-C2461AW6H-TB-1BL、GTH-C2461AW6H-H-1BL、GTH-C2461AW6H-PFF-1BL、GTH-C2461SAW6H-1BL、GTH-C2461SAW6H-L-1BL、GTH-C2461SAW6H-T-1BL、GTH-C2461SAW6H-TB-1BL、GTH-C2461SAW6H-H-1BL、GTH-C2461SAW6H-PFF-1BL、GTH-C2461AW3H-1BL、GTH-C2461AW3H-L-1BL、GTH-C2461AW3H-T-1BL、GTH-C2461AW3H-TB-1BL、GTH-C2461AW3H-H-1BL、GTH-C2461AW3H-PFF-1BL、GTH-C2461SAW3H-1BL、GTH-C2461SAW3H-L-1BL、GTH-C2461SAW3H-T-1BL、GTH-C2461SAW3H-TB-1BL、GTH-C2461SAW3H-H-1BL、GTH-C2461SAW3H-PFF-1BL、GTH-C2461AWD-1BL、GTH-C2461SAWD-1BL、GTH-CP2461AW3H-1BL、GTH-CP2461AW3H-L-1BL、GTH-CP2461AW3H-T-1BL、GTH-CP2461AW3H-TB-1BL、GTH-CP2461AW3H-H-1BL、GTH-CP2461AW3H-PFF-1BL、GTH-CP2461SAW3H-1BL、GTH-CP2461SAW3H-L-1BL、GTH-CP2461SAW3H-T-1BL、GTH-CP2461SAW3H-TB-1BL、GTH-CP2461SAW3H-H-1BL、GTH-CP2461SAW3H-PFF-1BL、GTH-CP2461AW6H-1BL、GTH-CP2461AW6H-L-1BL、GTH-CP2461AW6H-T-1BL、GTH-CP2461AW6H-TB-1BL、GTH-CP2461AW6H-H-1BL、GTH-CP2461AW6H-PFF-1BL、GTH-CP2461SAW6H-1BL、GTH-CP2461SAW6H-L-1BL、GTH-CP2461SAW6H-T-1BL、GTH-CP2461SAW6H-TB-1BL、GTH-CP2461SAW6H-H-1BL、GTH-CP2461SAW6H-PFF-1BL、GTH-CV2461AW6H-1BL、GTH-CV2461AW6H-L-1BL、GTH-CV2461AW6H-T-1BL、GTH-CV2461AW6H-TB-1BL、GTH-CV2461AW6H-H-1BL、GTH-CV2461AW6H-PFF-1BL、GTH-CV2461SAW6H-1BL、GTH-CV2461SAW6H-L-1BL、GTH-CV2461SAW6H-T-1BL、GTH-CV2461SAW6H-TB-1BL、GTH-CV2461SAW6H-H-1BL、GTH-CV2461SAW6H-PFF-1BL、GTH-C2461AW6H-1BLR、GTH-C2461AW6H-L-1BLR、GTH-C2461AW6H-T-1BLR、GTH-C2461AW6H-H-1BLR、GTH-C2461SAW6H-1BLR、GTH-C2461SAW6H-L-1BLR、GTH-C2461SAW6H-T-1BLR、GTH-C2461SAW6H-H-1BLR、GTH-C2461AW3H-1BLR、GTH-C2461AW3H-L-1BLR、GTH-C2461AW3H-T-1BLR、GTH-C2461AW3H-H-1BLR、GTH-C2461SAW3H-1BLR、GTH-C2461SAW3H-L-1BLR、GTH-C2461SAW3H-T-1BLR、GTH-C2461SAW3H-H-1BLR、GTH-C2459AW3H-1BL、GTH-C2459SAW3H-1BL、GTH-C2459PAWD-1BL、GTH-C2459AWD-1BL、GTH-C2459SAWD-1BL、GTH-C2459SAWD-IS-1、GTH-C2463AW6HBL、GTH-C2463SAW6HBL、GTH-C2463AW3HBL、GTH-C2463SAW3HBL、
FT4222ARSAW3CM、FT4222ARS2AW3CM、FT4222ARS4AW3CM、FT4222ARS8AW3CM、FT4222ARS9AW3CM、FT4222ARSSW3CM、FT4222ARS2SW3CM、FT4222ARS4SW3CM、FT4222ARS8SW3CM、FT4222ARS9SW3CM、FT4222ARSAW3PM、FT4222ARS2AW3PM、FT4222ARS4AW3PM、FT4222ARS8AW3PM、FT4222ARS9AW3PM、FT4222ARSSW3PM、FT4222ARS2SW3PM、FT4222ARS4SW3PM、FT4222ARS8SW3PM、FT4222ARS9SW3PM、FT4222ARSAW3TM、FT4222ARS2AW3TM、FT4222ARS4AW3TM、FT4222ARS8AW3TM、FT4222ARS9AW3TM、FT4222ARSSW3TM、FT4222ARS2SW3TM、FT4222ARS4SW3TM、FT4222ARS8SW3TM、FT4222ARS9SW3TM、FT4222ARSACM、FT4222ARS2ACM、FT4222ARS4ACM、FT4222ARS8ACM、FT4222ARS9ACM、FT4222ARSSCM、FT4222ARS2SCM、FT4222ARS4SCM、FT4222ARS8SCM、FT4222ARS9SCM、FT4222ARSAW6C、FT4222ARS2AW6C、FT4222ARS4AW6C、FT4222ARS8AW6C、FT4222ARS9AW6C、FT4222ARS0AW6C、FT4222ARSSW6C、FT4222ARS2SW6C、FT4222ARS4SW6C、FT4222ARS8SW6C、FT4222ARS9SW6C、FT4222ARS0SW6C、FT4222ARSAW3C、FT4222ARS2AW3C、FT4222ARS4AW3C、FT4222ARS8AW3C、FT4222ARS9AW3C、FT4222ARS0AW3C、FT4222ARSSW3C、FT4222ARS2SW3C、FT4222ARS4SW3C、FT4222ARS8SW3C、FT4222ARS9SW3C、FT4222ARS0SW3C、FT4222ARSAWC、FT4222ARSSWC、FT4222ARSAW3P、FT4222ARS2AW3P、FT4222ARS4AW3P、FT4222ARS8AW3P、FT4222ARS9AW3P、FT4222ARS0AW3P、FT4222ARSSW3P、FT4222ARS2SW3P、FT4222ARS4SW3P、FT4222ARS8SW3P、FT4222ARS9SW3P、FT4222ARS0SW3P、FT4222ARSAW6P、FT4222ARS2AW6P、FT4222ARS4AW6P、FT4222ARS8AW6P、FT4222ARS9AW6P、FT4222ARS0AW6P、FT4222ARSSW6P、FT4222ARS2SW6P、FT4222ARS4SW6P、FT4222ARS8SW6P、FT4222ARS9SW6P、FT4222ARS0SW6P、FT4222ARSAW6T、FT4222ARS2AW6T、FT4222ARS4AW6T、FT4222ARS8AW6T、FT4222ARS9AW6T、FT4222ARS0AW6T、FT4222ARSSW6T、FT4222ARS2SW6T、FT4222ARS4SW6T、FT4222ARS8SW6T、FT4222ARS9SW6T、FT4222ARS0SW6T、FT4222KRSAW3CM、FT4222KRSSW3CM、FT4222KRSAWCMV、FT4222KRSAWCM、FT4222KRSSWCM、FT4222LRSAW6C、FT4222LRSSW6C、FT4222LRSAW3C、FT4222LRSSW3C、FT4222ARSAW6CZ、FT4222ARS2AW6CZ、FT4222ARS4AW6CZ、FT4222ARS8AW6CZ、FT4222ARS9AW6CZ、FT4222ARS0AW6CZ、FT4222ARSAW6PZ、FT4222ARS2AW6PZ、FT4222ARS4AW6PZ、FT4222ARS8AW6PZ、FT4222ARS9AW6PZ、FT4222ARS0AW6PZ、FT4222KRSAWCMZ、FT4222KRSSWCMZ、FT4222LRSAW6CZ、FT4222LRSSW6CZ
GTH-C2461AW6H-1BLU、GTH-C2461AW6H-L-1BLU、GTH-C2461AW6H-T-1BLU、GTH-C2461AW6H-TB-1BLU、GTH-C2461AW6H-H-1BLU、GTH-C2461AW6H-PFF-1BLU、GTH-C2461SAW6H-1BLU、GTH-C2461SAW6H-L-1BLU、GTH-C2461SAW6H-T-1BLU、GTH-C2461SAW6H-TB-1BLU、GTH-C2461SAW6H-H-1BLU、GTH-C2461SAW6H-PFF-1BLU、GTH-C2461AW3H-1BLU、GTH-C2461AW3H-L-1BLU、GTH-C2461AW3H-T-1BLU、GTH-C2461AW3H-TB-1BLU、GTH-C2461AW3H-H-1BLU、GTH-C2461AW3H-PFF-1BLU、GTH-C2461SAW3H-1BLU、GTH-C2461SAW3H-L-1BLU、GTH-C2461SAW3H-T-1BLU、GTH-C2461SAW3H-TB-1BLU、GTH-C2461SAW3H-H-1BLU、GTH-C2461SAW3H-PFF-1BLU、GTH-C2461AWD-1BLU、GTH-C2461SAWD-1BLU、GTH-CP2461AW6H-1BLU、GTH-CP2461AW6H-L-1BLU、GTH-CP2461AW6H-T-1BLU、GTH-CP2461AW6H-TB-1BLU、GTH-CP2461AW6H-H-1BLU、GTH-CP2461AW6H-PFF-1BLU、GTH-CP2461SAW6H-1BLU、GTH-CP2461SAW6H-L-1BLU、GTH-CP2461SAW6H-T-1BLU、GTH-CP2461SAW6H-TB-1BLU、GTH-CP2461SAW6H-H-1BLU、GTH-CP2461SAW6H-PFF-1BLU、GTH-CP2461AW3H-1BLU、GTH-CP2461AW3H-L-1BLU、GTH-CP2461AW3H-T-1BLU、GTH-CP2461AW3H-TB-1BLU、GTH-CP2461AW3H-H-1BLU、GTH-CP2461AW3H-PFF-1BLU、GTH-CP2461SAW3H-1BLU、GTH-CP2461SAW3H-L-1BLU、GTH-CP2461SAW3H-T-1BLU、GTH-CP2461SAW3H-TB-1BLU、GTH-CP2461SAW3H-PFF-1BLU、GTH-CP2461SAW3H-H-1BLU、GTH-CV2461AW6H-1BLU、GTH-CV2461AW6H-L-1BLU、GTH-CV2461AW6H-T-1BLU、GTH-CV2461AW6H-TB-1BLU、GTH-CV2461AW6H-H-1BLU、GTH-CV2461AW6H-PFF-1BLU、GTH-CV2461SAW6H-1BLU、GTH-CV2461SAW6H-L-1BLU、GTH-CV2461SAW6H-T-1BLU、GTH-CV2461SAW6H-TB-1BLU、GTH-CV2461SAW6H-H-1BLU、GTH-CV2461SAW6H-PFF-1BLU、GTH-C2461AW6H-L-1BLL、GTH-C2461AW6H-T-1BLL、GTH-C2461AW6H-H-1BLL、GTH-C2461SAW6H-L-1BLL、GTH-C2461SAW6H-T-1BLL、GTH-C2461SAW6H-H-1BLL、GTH-C2461AW3H-L-1BLL、GTH-C2461AW3H-T-1BLL、GTH-C2461AW3H-H-1BLL、GTH-C2461SAW3H-L-1BLL、GTH-C2461SAW3H-T-1BLL、GTH-C2461SAW3H-H-1BLL、GTH-CP2461AW6H-L-1BLL、GTH-CP2461AW6H-T-1BLL、GTH-CP2461AW6H-H-1BLL、GTH-CP2461SAW6H-L-1BLL、GTH-CP2461SAW6H-T-1BLL、GTH-CP2461SAW6H-H-1BLL、GTH-CP2461AW3H-L-1BLL、GTH-CP2461AW3H-T-1BLL、GTH-CP2461AW3H-H-1BLL、GTH-CP2461SAW3H-L-1BLL、GTH-CP2461SAW3H-T-1BLL、GTH-CP2461SAW3H-H-1BLL、GTH-C2461AW6H-AI-1BL、GTH-C2461AW6H-L-FC-1BL、GTH-C2461AW6H-T-FC-1BL、GTH-C2461AW6H-TB-FC-1BL、GTH-C2461AW6H-H-FC-1BL、GTH-C2461AW6H-PFF-FC-1BL、GTH-CP2461AW6H-AI-1BL、GTH-CP2461AW6H-L-FC-1BL、GTH-CP2461AW6H-T-FC-1BL、GTH-CP2461AW6H-TB-FC-1BL、GTH-CP2461AW6H-H-FC-1BL、GTH-CP2461AW6H-PFF-FC1BL、GTH-C2459AWD-AI-1BL、GTH-C2459SAWD-AI-1BL、GTH-C2463AW6H-FCBL、GTH-C2463SAW6H-FCBL、GTH-C2460AW3H-1BLR、GTH-C2460AW3H-L-1BLR、GTH-C2460AW3H-T-1BLR、GTH-C2460AW3H-H-1BLR、GTH-C2460SAW3H-1BLR、GTH-C2460SAW3H-L-1BLR、GTH-C2460SAW3H-T-1BLR、GTH-C2460SAW3H-H-1BLR、GTH-C2460AW3H-1BLU、GTH-C2460AW3H-L-1BLU、GTH-C2460AW3H-T-1BLU、GTH-C2460AW3H-H-1BLU、GTH-C2460SAW3H-1BLU、GTH-C2460SAW3H-L-1BLU、GTH-C2460SAW3H-T-1BLU、GTH-C2460SAW3H-H-1BLU、GTH-CP2460AW3H-1BLU、GTH-CP2460AW3H-L-1BLU、GTH-CP2460AW3H-T-1BLU、GTH-CP2460AW3H-H-1BLU、GTH-CP2460SAW3H-1BLU、GTH-CP2460SAW3H-L-1BLU、GTH-CP2460SAW3H-T-1BLU、GTH-CP2460SAW3H-H-1BLU、GTH-C2460AW3H-L-1BLL、GTH-C2460AW3H-T-1BLL、GTH-C2460AW3H-H-1BLL、GTH-C2460SAW3H-L-1BLL、GTH-C2460SAW3H-T-1BLL、GTH-C2460SAW3H-H-1BLL、GTH-CP2460AW3H-L-1BLL、GTH-CP2460AW3H-T-1BLL、GTH-CP2460AW3H-H-1BLL、GTH-CP2460SAW3H-L-1BLL、GTH-CP2460SAW3H-T-1BLL、GTH-CP2460SAW3H-H-1BLL、
グレードAA | GAA194002 | 2020-03-10 | GTH-C2059AW3HBL | 20 | GTH-C2059SAW3HBL、GTH-C2059AWDBL、GTH-C2059SAWDBL、FT3520KRSAW3CM、FT3520KRSSW3CM、FT3520KRSAWCM、FT3520KRSSWCM、GTH-C2059AW3H-1BL、GTH-C2059SAW3H-1BL、GTH-C2059PAWD-1BL、GTH-C2059AWD-1BL、GTH-C2059SAWD-1BL、FT3522KRSAW3CM、FT3522KRSSW3CM、FT3522KRSAWCMV、FT3522KRSAWCM、FT3522KRSSWCM
グレードAA | GAA192001 | 2019-10-28 | GQ-C5042WZ | 50 | GQ-C5042WZ-EG
グレードAA | GAA152008 | 2015-10-01 | GQ-C5032WZ | 50 | GQ-C5032WZQ､GQ-C5032WZ-H､NR-S550RFWC-L､NR-S550RFWA-LR､NR-S550RFU-L
グレードA | GAX201002 | 2020-07-28 | GQ-C2434WSBL | 24 | GQ-C2434WS-TBL、GQ-C2434WS-CBL、GQ-C2434WS-TBBL、GQ-C2434WS、GQ-C2434WS-T、GQ-C2434WS-C、GQ-C2434WS-TB
グレードA | GAX201003 | 2020-07-28 | GQ-C2034WSBL | 20 | GQ-C2034WS-TBL、GQ-C2034WS-CBL、GQ-C2034WS-TBBL、GQ-C2034WS、GQ-C2034WS-T、GQ-C2034WS-C、GQ-C2034WS-TB、GQ-C2034WSBL-DK、GQ-C2034WS-TBL-DK、GQ-C2034WS-CBL-DK、GQ-C2034WS-TBBL-DK
超高効率 | ＧＸ101007 | 2010-05-27 | GQ-C5022WZ | 50 | GQ-C5022WZQ､NR-S550RFWB-L､NR-S550RFW-LR
超高効率 | GX092019 | 2009-10-16 | GQ-5012WZ-2 | 50 | なし

## パーパス株式会社
事業者名 | パーパス株式会社
取扱機器 | 温水ボイラー（給湯器）
認定種類 | 認定番号 | 認定年月日 | 代表型式 | 最大出湯量 （L/min） | その他型式 | 備考
グレードAA | GAA183001 | 2019-01-07 | PG-H500WS | 50 | PG-H500US
グレードAA | GAA171005 | 2017-06-14 | PG-H500W | 50 | なし
超高効率 | GX092020 | 2009-10-16 | GS-S5000GW | 50 | なし

## リンナイ株式会社
事業者名 | リンナイ株式会社
取扱機器 | 温水ボイラー（給湯器）
認定種類 | 認定番号 | 認定年月日 | 代表型式 | 最大出湯量 （L/min） | その他型式 | 備考
グレードAA | GAA231001 | 2023-07-07 | RUXC-SE5001W | 50 | RUXC-SE5001W-S、RUXC-SE5001MQW、RUXC-SE5001SQW、RUXC-SE5001U、RUXC-SE5001U-S、RUXC-SE5001MQU、RUXC-SE5001SQU
グレードAA | GAA193003 | 2020-01-08 | RUF-E2406AW | 24 | RUF-E2406AW-TN、RUF-E2406AT、RUF-E2406AA、RUF-E2406AB、RUF-E2406AU、RUF-E2406AF、RUF-E2406SAW、RUF-E2406SAW-TN、RUF-E2406SAW-TS、RUF-E2406SAW-JE、RUF-E2406SAT、RUF-E2406SAA、RUF-E2406SAB、RUF-E2406SAU、RUF-E2406SAF、RUF-E2406AW(A)、RUF-E2406AW(A)-TN、RUF-E2406AT(A)、RUF-E2406AA(A)、RUF-E2406AB(A)、RUF-E2406AU(A)、RUF-E2406AF(A)、RUF-E2406SAW(A)、RUF-E2406SAW(A)-TN、RUF-E2406SAW(A)-TS、RUF-E2406SAW(A)-JE、RUF-E2406SAT(A)、RUF-E2406SAA(A)、RUF-E2406SAB(A)、RUF-E2406SAU(A)、 RUF-E2406SAF(A)
グレードAA | GAA154006 | 2016-03-08 | RUXC-SE5000MW | 50 | RUXC－SE5000MU、RUXC－SE5000MQW、RUXC－SE5000MQU、 RUXC－SE5000ZW、RUXC－SE5000ZU
超高効率 | GX135001 | 2014-02-18 | RUXC-E5000MW | 50 | RUXC-E5000MQW、RUXC-E5000ZW、RUXC-E5000MU、RUXC-E5000MQU、RUXC-E5000ZU、RUXC-E5000MG、RUXC-E5000MG-40A、RUXC-E5000MG-32A、RUXC-E5000MG-25A、RUXC-E5000MQ、RUXC-E5000MQD、RUXC-E5000MQD-40A、RUXC-E5000MQD-32A、RUXC-E5000MQD-25A、RUXC-E5000S、RUXC-E5000B、RUXC-E5000MG-U、RUXC-E5000MG-U-40A、RUXC-E5000MG-U-32A、RUXC-E5000MG-U-25A、RUXC-E5000MQ-U、RUXC-E5000MQD-U、RUXC-E5000MQD-U-40A、RUXC-E5000MQD-U-32A、RUXC-E5000MQD-U-25A、RUXC-E5000S-U、RUXC-E5000B-U
超高効率 | ＧＸ094006 | 2010-02-10 | RUXC-K5000MW | 50 | RUXC-K5000ZW、RUXC-K5000MG、RUXC-K5000MG-25A、RUXC-K5000MG－32A、RUXC-K5000MG－40A、RUXC-K5000MGR、RUXC-K5000MQW、RUXC-K5000MQ、RUXC-K5000MQD、RUXC-K5000MQD-25A、RUXC-K5000MQD-32A、RUXC-K5000MQD－40A、RUXC-K5000S、RUXC-K5000B、RUXC-K5000MG-U、RUXC-K5000MQ-U、RUXC-K5000MQD-U、RUXC-K5000MQD-U－25A、RUXC-K5000MQD-U－32A、RUXC-K5000MQD-U－40A、RUXC-K5000S-U、RUXC-K5000B-U

## 三浦工業株式会社
事業者名 | 三浦工業株式会社
取扱機器 | 温水ボイラー
認定種類 | 認定番号 | 認定年月日 | 代表型式 | 定格熱出力 （kW） | その他型式 | 備考
グレードA | GAX151013 | 2015-06-17 | UT-65H | 76 | UT-65W
グレードA | GAX151014 | 2015-06-17 | UT-85H | 99 | UT-85W、UT-85WX
グレードA | GAX151015 | 2015-06-17 | UT-90W | 99 | UT-90WR
グレードA | GAX151016 | 2015-06-17 | UT-120H | 140 | UT-120W
グレードA | GAX151017 | 2015-06-17 | UT-170H | 198 | UT-170W
高効率 | GY131003 | 2013-06-03 | UT-65H | 76 | UT-65W | 新基準で認定取得済 GAX151013
高効率 | GY131004 | 2013-06-03 | UT-85H | 99 | UT-85W、UT-85WX | 新基準で認定取得済 GAX151014
高効率 | GY131005 | 2013-06-03 | UT-90W | 99 | UT-90WR | 新基準で認定取得済 GAX151015
高効率 | GY131006 | 2013-06-03 | UT-120H | 140 | UT-120W | 新基準で認定取得済 GAX151016
高効率 | GY131007 | 2013-06-03 | UT-170H | 198 | UT-170W | 新基準で認定取得済 GAX151017
高効率 | GY131008 | 2013-06-03 | UT-200H | 233 | UT-200W

## 株式会社パロマ
事業者名 | 株式会社パロマ
取扱機器 | 温水ボイラー（給湯器）
認定種類 | 認定番号 | 認定年月日 | 代表型式 | 最大出湯量 （L/min） | その他型式 | 備考
グレードAA | GAA234005 | 2024-04-25 | DH-E2422FATL2-6（T) | 24 | DH-E2422FAAL2-6(T) 、DH-E2422FAWL2-6(T)、DH-E2422FABL2-6(T)、DH-E2422FAUL2-6(T)、DH-E2422FAT2L2-6(T)、DH-E2422SAWL2-6(T)、DH-E2422SAAL2-6(T) 、DH-E2422SATL2-6(T)、DH-E2422SABL2-6(T)、DH-E2422SAUL2-6(T)、DH-E2422SAT2L2-6(T)、DH-E2422FAWL2-3(T)、DH-E2422FAAL2-3(T) 、DH-E2422FATL2-3(T)、DH-E2422FABL2-3(T)、DH-E2422FAUL2-3(T)、DH-E2422FAT2L2-3(T)、DH-E2422SAWL2-3(T)、DH-E2422SAAL2-3(T) 、DH-E2422SATL2-3(T)、DH-E2422SABL2-3(T)、DH-E2422SAUL2-3(T)、DH-E2422SAT2L2-3(T)、DH-E2422FAWL2-1(T)、DH-E2422SAWL2-1(T)、DH-E2422FAWL(T)、DH-E2422FAAL(T)、DH-E2422FATL(T)、DH-E2422FABL(T)、DH-E2422FAUL(T)、DH-E2422FAT2L(T)、DH-E2422SAWL(T)、DH-E2422SAAL(T)、DH-E2422SATL(T)、DH-E2422SABL(T)、DH-E2422SAUL(T)、DH-E2422SAT2L(T)、DH-E2422FAAL2-6（T)+ 、DH-E2422FAWL2-6（T)+、DH-E2422FABL2-6（T)+、DH-E2422FAUL2-6（T)+、DH-E2422FAT2L2-6（T)+、DH-E2422SAWL2-6（T)+、DH-E2422SAAL2-6（T)+ 、DH-E2422SATL2-6（T)+、DH-E2422SABL2-6（T)+、DH-E2422SAUL2-6（T)+、DH-E2422SAT2L2-6（T)+、DH-E2422FAWL2-3（T)+、DH-E2422FAAL2-3（T)+ 、DH-E2422FATL2-3（T)+、DH-E2422FABL2-3（T)+、DH-E2422FAUL2-3（T)+、DH-E2422FAT2L2-3（T)+、DH-E2422SAWL2-3（T)+、DH-E2422SAAL2-3（T)+ 、DH-E2422SATL2-3（T)+、DH-E2422SABL2-3（T)+、DH-E2422SAUL2-3（T)+、DH-E2422SAT2L2-3（T)+、DH-E2422FAWL2-1（T)+、DH-E2422SAWL2-1（T)+、DH-E2422FAWL（T)+、DH-E2422FAAL（T)+、DH-E2422FATL（T)+、DH-E2422FABL（T)+、DH-E2422FAUL（T)+、DH-E2422FAT2L（T)+、DH-E2422SAWL（T)+、DH-E2422SAAL（T)+、DH-E2422SATL（T)+、DH-E2422SABL（T)+、DH-E2422SAUL（T)+、DH-E2422SAT2L（T)+、DH-E2422FATL2-6（T)+、GT4223ARSAW6C、GT4223ARS2AW6C、GT4223ARS4AW6C、GT4223ARS8AW6C、GT4223ARS9AW6C、GT4223ARS1AW6C、GT4223ARSSW6C、GT4223ARS2SW6C、GT4223ARS4SW6C、GT4223ARS8SW6C、GT4223ARS9SW6C、GT4223ARS1SW6C、GT4223ARSAW3C、GT4223ARS2AW3C、GT4223ARS4AW3C、GT4223ARS8AW3C、GT4223ARS9AW3C、GT4223ARS1AW3C、GT4223ARSSW3C、GT4223ARS2SW3C、GT4223ARS4SW3C、GT4223ARS8SW3C、GT4223ARS9SW3C、GT4223ARS1SW3C、GT4223ARSAWC、GT4223ARSSWC、GT4223ARSAC、GT4223ARS2AC、GT4223ARS4AC、GT4223ARS8AC、GT4223ARS9AC、GT4223ARS1AC、GT4223ARSSC、GT4223ARS2SC、GT4223ARS4SC、GT4223ARS8SC、GT4223ARS9SC、GT4223ARS1SC
グレードAA | GAA202002 | 2020-11-11 | FH-E2022FAWL | 20 | FH-E2022SAWL、FH-E2012SAWL、FH-E2022FATL、FH-E2022SATL、FH-E2012SATL、FH-E2022FAAL、FH-E2022SAAL、FH-E2022FABL、FH-E2022SABL、FH-E2022FAUL、FH-E2022SAUL、FH-E2022FAT2L、FH-E2022SAT2L、FH-E2021SAWL、FH-E2011SAWL、FH-E2021SATL、FH-E2021SAAL、FH-E2021SABL、FH-E2021SAUL、FH-E2021SAT2L、FH-EZ2026FAWL、FH-EZ2026SAWL-IG、FH-EZ2026SAWL、FH-EZ2026FATL、FH-EZ2026SATL、FH-EZ2026FAAL、FH-EZ2026SAAL、FH-E2011SATL、FH-E2022FAWL(10)、FH-E2022FAWL-IRO(10) 、FH-E2022FAWL-10Y(10) 、FH-E2022FAWLCZ-8Y(10) 、FH-E2022FAW-TKR(10) 、FH-E2022SAWL(10)、FH-E2022SAWL-IRO(10) 、FH-E2022SAWL-10Y(10) 、FH-E2022SAWL-KOS(10) 、FH-E2022SAW-TKR(10)、FH-E2022SAWLCZ-8Y(10) 、FH-E2022SAWL-DH(10) 、FH-E2012SAWL(10)、FH-E2012SAWL-IRO(10) 、FH-E2012SAWL-KOS(10) 、FH-E2012SAWL-IBG(10) 、FH-E2012SAWL-IBR(10) 、FH-E2022FATL(10)、FH-E2022FATL-IRO(10) 、FH-E2022SATL(10)、FH-E2022SATL-IRO(10) 、FH-E2012SATL(10)、FH-E2012SATL-IRO(10) 、FH-E2012SATL-EAP(10) 、FH-E2022FAAL(10)、FH-E2022FAAL-IRO(10) 、FH-E2022SAAL(10)、FH-E2022SAAL-IRO(10) 、FH-E2022SAAL-LON(10) 、FH-E2022FABL(10)、FH-E2022SABL(10)、FH-E2022FAUL(10)、FH-E2022SAUL(10)、FH-E2022FAT2L(10)、FH-E2022SAT2L(10)、FH-E2021SAWL(10)、FH-E2021SAWL-IRO(10) 、FH-E2021SAWL-KOS(10) 、FH-E2021SAWL-IBG(10) 、FH-E2021SAWL-IBR(10) 、FH-E2021SAWL-IWH(10) 、FH-E2021SAWL-D(10) 、FH-E2021SAWL-N(D)(10) 、FH-E2021SAWL-LMN(10)、
FH-E2011SAWL(10)、FH-E2011SAWL-IRO(10) 、FH-E2011SAWL-KOS(10) 、FH-E2011SAWL-IBG(10) 、FH-E2011SAWL-D(10) 、FH-E2011SAWL-N(D)(10) 、FH-E2011SAWL-EAP(10) 、FH-E2011SAWL-EAS(10) 、FH-E2021SATL(10)、FH-E2021SATL-IRO(10) 、FH-E2021SATL-D(10) 、FH-E2021SATL-N(D)(10) 、FH-E2021SATL-EAP(10) 、FH-E2021SAAL(10)、FH-E2021SAAL-IRO(10) 、FH-E2021SAAL-D(10) 、FH-E2021SAAL-DL(10) 、FH-E2021SABL(10)、FH-E2021SABL-D(10) 、FH-E2021SAUL(10)、FH-E2021SAUL-D(10) 、FH-E2021SAT2L(10)、FH-EZ2026FAWL(10)、FH-EZ2026FAWL-IRO(10) 、FH-EZ2026SAWL(10)、FH-EZ2026SAWL-IG(10)、FH-EZ2026SAWL-IRO(10) 、FH-EZ2026FATL(10)、FH-EZ2026FATL-IRO(10) 、FH-EZ2026SATL(10)、FH-EZ2026SATL-IRO(10) 、FH-EZ2026FAAL(10)、FH-EZ2026FAAL-IRO(10) 、FH-EZ2026SAAL(10)、FH-EZ2026SAAL-IRO(10) 、FH-E2011SATL(10)、FH-E2011SATL-IRO(10) 、FH-E2011SATL-N(D)(10) 、FH-E2011SATL-EAP(10) 、FH-E2022KFAWL(10) LP、FH-E2022KSAWL(10) LP、FH-E2012KSAWL(10) LP、FH-E2012FARL、FH-E2012SARL、FHTGE202WFAWL、FHTGE202WSAWL、FH-E2022SAWL-IWH(10）、FH-E2022SAWL-N15（10）、FH-E2022SAWL-IBR（10）、 FH-E2022SAWL-IBG（10）
グレードAA | GAA202003 | 2020-11-11 | FH-E2422FAWL | 24 | FH-E2422SAWL、FH-EZ2426FAWL、FH-EZ2426SAWL、FH-E2422FATL、FH-EZ2426FATL、FH-E2422FAT2L、 FH-E2422FAUL、FH-E2422FABL、FH-E2422FAAL、FH-EZ2426FAAL、FH-E2422SATL、FH-EZ2426SATL、FH-E2422SAT2L、FH-E2422SAUL、FH-E2422SABL、FH-E2422SAAL、FH-EZ2426SAAL、FH-EZ2426SAWL-IG、FH-E2421SAWL、FH-E2421SATL、FH-E2421SAT2L、FH-E2421SAUL、FH-E2421SABL、FH-E2421SAAL、FH-E2422FAWL(10)、FH-E2422FAWL-IRO(10)、FH-E2422FAWL-10Y(10)、FH-E2422FAWLCZ-8Y(10)、FH-E2422FAW-TKR(10)、FH-E2422SAWL(10)、 FH-E2422SAWL-IRO(10)、FH-E2422SAWL-10Y(10)、FH-E2422SAWL-KOS(10)、FH-E2422SAW-TKR(10)、FH-E2422SAWLCZ-8Y(10)、FH-E2422SAWL-DH(10)、FH-E2422SAWL-OPH(10)、FH-EZ2426FAWL(10)、 FH-EZ2426FAWL-IRO(10)、FH-EZ2426SAWL(10)、FH-EZ2426SAWL-IRO(10)、FH-EZ2426SAWL-IG(10)、FH-E2422FATL(10)、FH-E2422FATL-IRO(10)、 FH-EZ2426FATL(10)、FH-EZ2426FATL-IRO(10)、FH-E2422FAT2L(10)、FH-E2422FAUL(10)、FH-E2422FABL(10)、FH-E2422FAAL(10)、FH-E2422FAAL-IRO(10)、FH-EZ2426FAAL(10)、FH-EZ2426FAAL-IRO(10)、FH-E2422SATL(10)、FH-E2422SATL-IRO(10)、FH-EZ2426SATL(10)、FH-EZ2426SATL-IRO(10)、FH-E2422SAT2L(10)、FH-E2422SAUL(10)、FH-E2422SABL(10)、FH-E2422SAAL(10)、FH-E2422SAAL-IRO(10)、FH-E2422SAAL-LON(10)、FH-EZ2426SAAL(10)、FH-EZ2426SAAL-IRO(10)、FH-E2422KFAWL(10)、FH-E2422KSAWL(10)、FH-E2421SAWL(10)、FH-E2421SAWL-IRO(10)、FH-E2421SAWL-D(10)、FH-E2421SAWL-LMN(10)、FH-E2421SATL(10)、FH-E2421SATL-IRO(10)、FH-E2421SAT2L(10)、FH-E2421SAUL(10)、FH-E2421SABL(10)、FH-E2421SAAL(10)、FH-E2421SAAL-IRO(10)、FH-E2422FARL、FH-E2422SARL、FH-E2422SARL-KOS
SSTGFHE2422FAWL、SSTGFHE2422FARL、FHTGE242WFAWL、FHTGE242WSAWL、FH-EZ2426SAWL-N15(10)
グレードAA | GAA193004 | 2020-01-08 | PH-E2404AWL | 24 | PH-E2404AWL-H、PH-E2425AWL、PH-E2425AWL-IRO、PH-E2425AWL-KOS、PH-E2404ATL、PH-E2425ATL、PH-E2425ATL-IRO
グレードAA | GAA193005 | 2020-01-08 | PH-E2004AWL | 20 | PH-E2015AWL、PH-E2015AWL-IRO、PH-E2004ATL、PH-E2015ATL、PH-E2015ATL-IRO
グレードAA | GAA193006 | 2020-01-08 | FH-E248AWL | 24 | FH-E248AW、FH-E248AWL(10)、FH-E248AWL-10Y、FH-E248AWL-10Y(10)、FH-E248AWL-H、FH-E248AWL-H(10)、FH-E248AWL-IG、FH-E248AWL-IG(10)、FH-E248AWL-ZH、FH-E248AWL-ZH(10)、FH-E248AW-TKR(10)、FH-E248FAW、FH-E248FAWL、FH-E248FAWL(10)、FH-E248FAW-TKR(10)、FH-E248KAWL(10)、FH-E248KFAWL(10)、FH-E248ATL、FH-E248ATL(10)、FH-E248FATL、FH-E248FATL(10)、FH-E248AUL、FH-E248AUL(10)、FH-E248FAUL 、FH-E248FAUL(10)、FH-E248ABL、FH-E248ABL(10)、FH-E248FABL、FH-E248FABL(10)、FH-E248AR、FH-E248ARL-1、FH-E248AR-TKR(10)、FH-E248FARL、FH-E248FARL-1、FH-E248FARL-1(10)、FH-E247AWL、FH-E247AWL(10)、FH-E247AWL(D)、FH-E247AWL(OG)、FH-E247AWL-D、FH-E247AWL-DF、FH-E247AWL-SRP、FH-E247AWL-SRP(10)、FH-E247KAWL、FH-E247KAWL(10)、FH-E247ATL、FH-E247ATL(10)、FH-E247ATL-SRP、FH-E247ATL-SRP(10)、FH-E247AUL、FH-E247AUL(10)、FH-E247AUL-SRP、FH-E247AUL-SRP(10)、FH-E247ABL、FH-E247ABL(10)、FH-E247ABL-SRP、FH-E247ABL-SRP(10)、FH-E247ARL、FH-E247ARL-1、FH-E247ARL-1(10)、FH-E247ARL-10Y、FH-E247ARL-10Y(10)、FH-E247ARL-1-H、FH-E247ARL-1-H(10)、FH-E247ARL-H、FH-E2422AFL-1、FH-E2422AFL-1(10)、FH-E2422FAFL-1、FH-E2422FAFL-1(10)
グレードAA | GAA193007 | 2020-01-08 | FH-E208AWL | 20 | FH-E208AW、FH-E208AWL(10)、FH-E208AWL-10Y、FH-E208AWL-10Y(10)、FH-E208AWL-H、FH-E208AWL-H(10)、FH-E208AWL-IG、FH-E208AWL-IG(10)、FH-E208AWL-ZH、FH-E208AWL-ZH(10)、FH-E208AW-TKR(10)、FH-E208FAW、FH-E208FAWL 、FH-E208FAWL(10)、FH-E208FAW-TKR(10)、FH-E208KAWL(10)、FH-E208KFAWL(10)、FH-E208ATL 、FH-E208ATL(10)、FH-E208ATL-ZH、FH-E208ATL-ZH(10)、FH-E208FATL 、FH-E208FATL(10)、FH-E208AUL 、FH-E208AUL(10)、FH-E208FAUL 、FH-E208FAUL(10)、FH-E208ABL 、FH-E208ABL(10)、FH-E208FABL 、FH-E208FABL(10)、FH-E208AR、FH-E208ARL-1、FH-E208AR-TKR(10)、FH-E208FARL、FH-E208FARL-1、FH-E208FARL-1(10)、FH-E207AWL 、FH-E207AWL(D)、FH-E207AWL(10)、FH-E207AWL(OG)、FH-E207AWL-DB(10)、FH-E207AWL-DB(20A)、FH-E207AWL-H、FH-E207AWL-H(10)、FH-E207KAWL、FH-E207KAWL(10)、FH-E207ATL 、FH-E207ATL-D、FH-E207ATL-D(10)、FH-E207ATL-D(20A)、FH-E207ATL-DF、FH-E207ATL-DL、FH-E207ATL-DL(10)、FH-E207ATL-DL(20A)、FH-E207ATL-DLF、FH-E207ATL(10)、FH-E207AUL 、FH-E207AUL(10)、FH-E207SAU、FH-E207SAU(10)、FH-E207SAU-D(10)、FH-E207SAU-D(20A)、FH-E207ABL 、FH-E207ABL(10)、FH-E207SAB、FH-E207SAB(10)、FH-E207SAB-D(10)、FH-E207SAB-D(20A)、FH-E207ARL、FH-E207ARL-1、FH-E207ARL-1(10)、FH-E207ARL-10Y、FH-E207ARL-10Y(10)、FH-E2022AFL-1、FH-E2022AFL-1(10)、FH-E2022AFL-D(10)、FH-E2022AFL-D(20A)、FH-E2022FAFL-1、FH-E2022FAFL-1(10)
グレードA | GAX223001 | 2023-01-04 | FH-SE2024FAWL | 20 | FH-SE2024FAWL-IRO、FH-SE2024SAWL、FH-SE2024SAWL-IRO、FH-SE2024SAW、FH-SE2024SAW-IRO、FH-SE2014FAWL、FH-SE2014FAWL-IRO、FH-SE2014SAWL、FH-SE2014SAWL-IRO、FH-SE2014SAW、FH-SE2014SAW-IRO、FH-SE2024FATL、FH-SE2024FATL-IRO、FH-SE2024SATL、FH-SE2024SATL-IRO、FH-SE2014FATL、FH-SE2014FATL-IRO、FH-SE2014SATL、FH-SE2014SATL-IRO、FH-SE2024FAUL、FH-SE2024SAUL、FH-SE2014FAUL、FH-SE2014SAUL、FH-SE2024SAWL-D、FH-SE2014SAWL-D、FH-SE2024SATL-D、FH-SE2024SAWL-IWH、FH-SE2024SAWL-N15
グレードA | GAX193001 | 2020-01-08 | PH-EM2004AWL | 20 | PH-EM2004AWL-DW、PH-EM2004AWL-DT、PH-EM2004AW、PH-EM2004AWL-DH、PH-EM2015AWL、PH-EM2015AWL-IRO
グレードA | GAX193002 | 2020-01-08 | FH-E207SAW | 20 | FH-E207SAW(10)、FH-E207SAW-D(10)、FH-E207SAW-D(20A)、FH-E207SAW-N(B)、FH-E207SAW-N(C)、FH-E207SAT、FH-E207SAT(10)、FH-E207SAT-D(10)、FH-E207SAT-D(20A)、FH-E207SAT-N(B)、FH-E207SAT-N